## Instructions
Electrical estimate template: how to use it
What this workbook does
It turns a takeoff into a bid price. The Estimate tab extends material (quantity x unit cost) and labor hours (quantity x labor unit). The Summary tab adds sales tax, applies a difficulty factor and your labor rate, adds equipment, subcontracts, permits and general conditions, then applies overhead and profit as markups to reach the bid price.
Estimate tab
1. Fill in the project block. 2. Enter quantities from your takeoff. 3. Pick the unit: EA (each), LF (linear foot), C (per 100) or M (per 1,000), LOT. When the unit is C or M, the unit cost and the labor unit are read as per 100 or per 1,000, the way wire and conduit are usually priced, and the extensions divide automatically.
4. Enter your material unit cost from a current supplier quote or price service. 5. Enter labor units as hours per unit (or per 100 / per 1,000 for C and M). Section subtotals and the grand total update by themselves. Add rows inside a section above its subtotal row and the subtotal range will grow to include them.
Where labor units come from
The most reliable labor units are your own: hours per unit measured on finished jobs (hours charged to a cost code divided by the installed quantity). The Labor units tab is a place to keep them. Published manuals exist, such as the NECA Manual of Labor Units, but they are copyrighted and sold by their publishers; this template does not include their values. Whatever source you use, adjust it with the difficulty factor rather than editing every line.
Summary tab
Enter the sales tax rate that applies to materials in your state, a difficulty factor (1.00 is normal conditions; higher for work at height, occupied buildings, tight schedules), your burdened labor rate per hour (wages plus payroll taxes, insurance and benefits), and the direct cost lines. Overhead and profit are entered as markup percentages. The sheet also shows the profit as a margin of the bid price so you can compare the two.
Markup vs margin
Markup is a percent of cost. Margin is a percent of the selling price. A 10% markup on $100,000 of cost gives a $110,000 price, and the $10,000 profit is a 9.1% margin. To hit a target margin, divide cost by (1 minus the margin): $100,000 / 0.90 = $111,111 for a 10% margin.
Cell colors
White cells are for your input. Light gray cells hold formulas. Nothing is locked.
Template by AmpCount, ampcount.com

## Estimate
Electrical Estimate
Project
Customer / GC
Estimator
Bid date
Item code | Description | Qty | Unit | Material unit cost | Material total | Labor unit (hrs) | Labor hours | Notes
Service and distribution
Main switchboard or service panel
Panelboard
Dry type transformer
Disconnect switch
Grounding electrode system
Meter base or CT cabinet
Subtotal, service and distribution
Feeders
Feeder conduit
Feeder conductors
Feeder terminations
Pull boxes
Subtotal, feeders
Branch conduit, cable and boxes
EMT conduit, 3/4 in.
THHN conductor, #12
MC cable, 12/2
4 in. square box with ring
Fittings, straps and supports
Device and fixture whips
Subtotal, branch conduit, cable and boxes
Wiring devices
Duplex receptacle, 20A
GFCI receptacle
Single pole switch
Three-way switch
Dimmer switch
Device plates
Subtotal, wiring devices
Lighting and controls
Fixture type A
Fixture type B
Fixture type C
Exit sign
Emergency lighting unit
Occupancy sensor
Subtotal, lighting and controls
Equipment connections
HVAC equipment connection
Water heater connection
Motor connection
EV charger
Subtotal, equipment connections
Fire alarm and low voltage (if in scope)
Fire alarm device
Data outlet and backbox
Pathway and sleeves
Subtotal, fire alarm and low voltage
Temporary power and miscellaneous
Temporary power
Fire stopping
Core drilling
Testing and labeling
Subtotal, temporary power and miscellaneous
TOTAL MATERIAL AND LABOR HOURS
Template by AmpCount, ampcount.com

## Summary
Bid Summary
Material
Material subtotal (from Estimate)
Small material and waste allowance, %
Waste allowance amount
Sales tax rate on material, %
Sales tax
Material total
Labor
Base labor hours (from Estimate)
Difficulty factor (1.00 = normal conditions) | 1
Adjusted labor hours
Burdened labor rate, $ per hour
Labor total
Other direct costs
Equipment and rentals (lifts, trenchers, tools)
Subcontracts (fire alarm, low voltage, trenching, other)
Permits and fees
General conditions (supervision, trucks, temp facilities, cleanup)
TOTAL DIRECT COST
Markups
Overhead, % markup on direct cost
Overhead amount
Cost plus overhead
Profit, % markup on cost plus overhead
Profit amount
Bond, % of price before bond (leave blank if none)
Bond amount
BID PRICE
Bid price rounded up to the next $100
Checks
Total markup over direct cost
Profit as a margin of the bid price
Bid price per adjusted labor hour
White cells are inputs. Overhead and profit are markups on cost; the Checks block shows the resulting margin.
Template by AmpCount, ampcount.com

## Labor units
My labor units
Keep your shop's measured units here: installed quantity and hours from cost reports on finished jobs.
Item | Unit (EA, C, M) | Hours per unit | Jobs measured | Basis (job numbers, crew, conditions) | Last updated
Template by AmpCount, ampcount.com