## Instructions
Electrical takeoff sheet: how to use it
What this workbook does
It holds a device and fixture count for one plan set: one row per device or fixture type, one column per drawing sheet, and a total per row. The Fixture schedule check tab compares your counted fixtures against the quantities on the fixture schedule, and the Typicals tab multiplies rooms drawn once and marked typical.
Takeoff tab
1. Fill in the project block at the top (project, plan set date and revision, estimator, bid date).
2. Replace the column headers Sheet 1 to Sheet 12 with your sheet numbers (for example E-101, E-102). If you need more sheets, insert columns before the Total column; the totals keep working because they sum the whole range.
3. Edit the descriptions to match the legend on your drawings. Put the fixture type tag exactly as it appears on the schedule in the Type tag column (A, A1, X1). The schedule check matches on that text.
4. Enter counts per sheet. The Total column adds every sheet column. Leave a cell empty when a sheet has none of that item.
5. Add item codes from your estimating software in the Item code column so the totals can be pasted or imported straight into your estimate.
Typicals tab
For a room drawn once and noted as typical (for example TYP. OF 6), enter the count in one typical room and the number of typical rooms. Copy the total into the matching Takeoff cell, or link it with a formula such as =Typicals!G5 so a change in the multiplier flows through.
Fixture schedule check tab
Type each fixture tag and the quantity from the schedule, if the engineer gave one. Counted qty pulls the total for that tag from the Takeoff tab automatically. Any row marked Check has a difference: find the sheet behind it before you send the fixture package out for pricing.
Counting conventions that keep the sheet consistent
Count from the latest revision only and note the revision in the project block. Count devices called out in keyed notes even when they are not drawn. Count each device once even when it appears on two sheets (an enlarged plan and the overall plan), and note which sheet you used. Keep items that are not in your scope (fire alarm, data) in their own groups so you can delete them or price them separately.
Cell colors
White cells are for your input. Light gray cells hold formulas; there is no need to type in them. Sheets are not locked, so you can change anything.
Template by AmpCount, ampcount.com

## Takeoff
Electrical Takeoff Sheet
Project
Plan set / revision
Estimator
Bid date
Item code | Description | Type tag | Unit | Sheet 1 | Sheet 2 | Sheet 3 | Sheet 4 | Sheet 5 | Sheet 6 | Sheet 7 | Sheet 8 | Sheet 9 | Sheet 10 | Sheet 11 | Sheet 12 | Total | Notes
Lighting fixtures (by type tag from the fixture schedule)
| Fixture type A | A | EA
| Fixture type A1 | A1 | EA
| Fixture type B | B | EA
| Fixture type C | C | EA
| Fixture type D | D | EA
| Fixture type E | E | EA
| Fixture type F | F | EA
| Fixture type G | G | EA
Emergency and exit
| Exit sign | X1 | EA
| Exit sign with emergency heads | X2 | EA
| Emergency lighting unit | EM | EA
| Remote emergency head | EM2 | EA
Receptacles
| Duplex receptacle, 20A |  | EA
| Duplex receptacle, GFCI |  | EA
| Duplex receptacle, weatherproof GFCI |  | EA
| Quad receptacle |  | EA
| Dedicated duplex receptacle |  | EA
| Duplex receptacle above counter |  | EA
| Ceiling mounted receptacle |  | EA
| Special purpose receptacle (30A or larger) |  | EA
| Floor box |  | EA
| Poke-through device |  | EA
Switches and lighting controls
| Single pole switch |  | EA
| Three-way switch |  | EA
| Four-way switch |  | EA
| Dimmer switch |  | EA
| Wall occupancy or vacancy sensor |  | EA
| Ceiling occupancy sensor |  | EA
| Daylight sensor |  | EA
| Low voltage switch station |  | EA
| Room controller or relay pack |  | EA
Power, gear and equipment connections
| Panelboard |  | EA
| Dry type transformer |  | EA
| Disconnect switch, non-fused |  | EA
| Disconnect switch, fused |  | EA
| Mechanical equipment connection (RTU, AHU, EF) |  | EA
| Motor connection |  | EA
| Water heater connection |  | EA
| Junction box |  | EA
| EV charger |  | EA
Fire alarm (if in your scope)
| Smoke detector |  | EA
| Heat detector |  | EA
| Duct detector |  | EA
| Horn/strobe |  | EA
| Strobe only |  | EA
| Manual pull station |  | EA
| Monitor module |  | EA
| Control or relay module |  | EA
Communications and low voltage (if in your scope)
| Data outlet |  | EA
| Voice/data outlet |  | EA
| Wireless access point |  | EA
| Camera |  | EA
| Card reader |  | EA
Other items
Total marks counted per sheet (all types)
Template by AmpCount, ampcount.com

## Typicals
Typical rooms and areas
Count one typical room, enter how many there are, and carry the total to the Takeoff tab.
Room or area type | Sheet | Item / description | Type tag | Count in one typical | Number of typicals | Total | Notes
Template by AmpCount, ampcount.com

## Fixture schedule check
Fixture schedule check
Counted qty is pulled from the Takeoff tab by type tag. A difference means a sheet to look at before pricing.
Type tag | Description (from schedule) | Schedule qty | Counted qty | Difference | Status | Where the difference is / notes
A
A1
B
C
D
E
F
G
X1
X2
EM
EM2
Rows marked Check
Template by AmpCount, ampcount.com